## Base Sheet (hidden)
Castamet
Date | UOM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Todate
Inverter-1 | KwH | 1: #REF! | #REF!
Inverter-2 | KwH | 1: #REF! | #REF!
Inverter-3 | KwH | 1: #REF! | #REF!
Inverter-4 | KwH | 1: #REF! | #REF!
Inverter-5 | KwH | 1: #REF! | #REF!
Inverter-6 | KwH | 1: #REF! | #REF!
Inverter-7 | KwH | 1: #REF! | #REF!
Inverter-8 | KwH | 1: #REF! | #REF!
Inverter-9 | KwH | 1: #REF! | #REF!
Inverter-10 | KwH | 1: #REF! | #REF!
Inverter-11 | KwH | 1: #REF! | #REF!
Inverter-12 | KwH | 1: #REF! | #REF!
Inverter-13 | KwH | 1: #REF! | #REF!
Inverter-14 | KwH | 1: #REF! | #REF!
Inverter-15 | KwH | 1: #REF! | #REF!
Inverter-16 | KwH | 1: #REF! | #REF!
Inverter-17 | KwH | 1: #REF! | #REF!
Inverter-18 | KwH | 1: #REF! | #REF!
Actual Solar Gen | KwH | 1: #REF! | #REF!
Actial Irradition | Kwh/m2/Day | 1: #REF! | #REF!
Plant Consumption | KwH | 1: #REF! | #REF!
Target PLF based on Actual Irradiation | % | 1: #REF! | #REF!
Actual PLF based on Actual Irradiation | % | 1: #REF! | #REF!
Difference (Target v/s Actual) | % | 1: #REF! | #REF!
RGU
Date | UOM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Todate
Inverter-1 | KwH | 1: #REF! | #REF!
Inverter-2 | KwH | 1: #REF! | #REF!
Inverter-3 | KwH | 1: #REF! | #REF!
Inverter-4 | KwH | 1: #REF! | #REF!
Inverter-5 | KwH | 1: #REF! | #REF!
Inverter-6 | KwH | 1: #REF! | #REF!
Inverter-7 | KwH | 1: #REF! | #REF!
Inverter-8 | KwH | 1: #REF! | #REF!
Inverter-9 | KwH | 1: #REF! | #REF!
Inverter-10 | KwH | 1: #REF! | #REF!
Inverter-11 | KwH | 1: #REF! | #REF!
Inverter-12 | KwH | 1: #REF! | #REF!
Inverter-13 | KwH | 1: #REF! | #REF!
Inverter-14 | KwH | 1: #REF! | #REF!
Inverter-15 | KwH | 1: #REF! | #REF!
Inverter-16 | KwH | 1: #REF! | #REF!
Inverter-17 | KwH | 1: #REF! | #REF!
Inverter-18 | KwH | 1: #REF! | #REF!
Actual Solar Gen | KwH | 1: #REF! | #REF!
Actial Irradition | Kwh/m2/Day | 1: #REF! | #REF!
Plant Consumption | KwH | 1: #REF! | #REF!
Target PLF based on Actual Irradiation | % | 1: #REF! | #REF!
Actual PLF based on Actual Irradiation | % | 1: #REF! | #REF!
Difference (Target v/s Actual) | % | 1: #REF! | #REF!
PGU
Date | UOM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Todate
Inverter-1 | KwH | 1: #REF! | #REF!
Inverter-2 | KwH | 1: #REF! | #REF!
Inverter-3 | KwH | 1: #REF! | #REF!
Inverter-4 | KwH | 1: #REF! | #REF!
Inverter-5 | KwH | 1: #REF! | #REF!
Inverter-6 | KwH | 1: #REF! | #REF!
Inverter-7 | KwH | 1: #REF! | #REF!
Inverter-8 | KwH | 1: #REF! | #REF!
Inverter-9 | KwH | 1: #REF! | #REF!
Inverter-10 | KwH | 1: #REF! | #REF!
Inverter-11 | KwH | 1: #REF! | #REF!
Inverter-12 | KwH | 1: #REF! | #REF!
Inverter-13 | KwH | 1: #REF! | #REF!
Inverter-14 | KwH | 1: #REF! | #REF!
Inverter-15 | KwH | 1: #REF! | #REF!
Inverter-16 | KwH | 1: #REF! | #REF!
Inverter-17 | KwH | 1: #REF! | #REF!
Inverter-18 | KwH | 1: #REF! | #REF!
Actual Solar Gen | KwH | 1: #REF! | #REF!
Actial Irradition | Kwh/m2/Day | 1: #REF! | #REF!
Plant Consumption | KwH | 1: #REF! | #REF!
Target PLF based on Actual Irradiation | % | 1: #REF! | #REF!
Actual PLF based on Actual Irradiation | % | 1: #REF! | #REF!
Difference (Target v/s Actual) | % | 1: #REF! | #REF!
Jharkhand
Date | UOM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Todate
Inverter-1 | KwH | 1: #REF! | #REF!
Inverter-2 | KwH | 1: #REF! | #REF!
Inverter-3 | KwH | 1: #REF! | #REF!
Inverter-4 | KwH | 1: #REF! | #REF!
Inverter-5 | KwH | 1: #REF! | #REF!
Inverter-6 | KwH | 1: #REF! | #REF!
Inverter-7 | KwH | 1: #REF! | #REF!
Inverter-8 | KwH | 1: #REF! | #REF!
Inverter-9 | KwH | 1: #REF! | #REF!
Inverter-10 | KwH | 1: #REF! | #REF!
Inverter-11 | KwH | 1: #REF! | #REF!
Inverter-12 | KwH | 1: #REF! | #REF!
Inverter-13 | KwH | 1: #REF! | #REF!
Inverter-14 | KwH | 1: #REF! | #REF!
Inverter-15 | KwH | 1: #REF! | #REF!
Inverter-16 | KwH | 1: #REF! | #REF!
Inverter-17 | KwH | 1: #REF! | #REF!
Inverter-18 | KwH | 1: #REF! | #REF!
Inverter-19 | KwH | 1: #REF! | #REF!
Inverter-20 | KwH | 1: #REF! | #REF!
Inverter-21 | KwH | 1: #REF! | #REF!
Actual Solar Gen | KwH | 1: #REF! | #REF!
Actial Irradition | Kwh/m2/Day | 1: #REF! | #REF!
Plant Consumption | KwH | 1: #REF! | #REF!
Target PLF based on Actual Irradiation | % | 1: #REF! | #REF!
Actual PLF based on Actual Irradiation | % | 1: #REF! | #REF!
Difference (Target v/s Actual) | % | 1: #REF! | #REF!

## Solar Report
Beawar
Date | UOM | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Todate
Inverter-1(Seasonal Axis Generation) | KwH | 1: 104; 2: 104.69; 3: 82.49; 4: 97.35; 5: 68.74; 6: 99.67 | 556.94
Inverter-2 (Single Axis Generation) | KwH | 1: 143; 2: 147.88; 3: 110.01; 4: 133.84; 5: 86.91; 6: 138.76 | 760.4
Inverter-3 (Dual Axis Generation) | KwH | 1: 121; 2: 125.63; 3: 95.95; 4: 116.56; 5: 75.98; 6: 119.73 | 654.85
Actual Solar Gen | KwH | 1: 383; 2: 389; 3: 306; 4: 357; 5: 241; 6: 368 | 2044
Actual Irradition | Kwh/m2/Day | 1: 8.3; 2: 8.416; 3: 6.6322; 4: 7.7233; 5: 5.2269; 6: 8.0783 | 7.3961
Target PLF based on Actual Irradiation | % | 1: 26%; 2: 26.45%; 3: 20.9%; 4: 24.33%; 5: 16.49%; 6: 25.02% | 23.2%
Actual PLF based on Actual Irradiation | % | 1: 25.7%; 2: 26.14%; 3: 20.56%; 4: 23.99%; 5: 16.2%; 6: 24.73% | 22.89%
Target to actual PLF | % | 1: 0.3%; 2: 0.3029%; 3: 0.336%; 4: 0.334%; 5: 0.2979%; 6: 0.2903% | 0.3102%
Performance Ration |  | 1: 74.4%; 2: 74.55%; 3: 74.42%; 4: 74.55%; 5: 74.37%; 6: 73.47% | 74.29%
Target PLF based on KWH | KWH | 1: 387; 2: 393.5066; 3: 310.9994; 4: 361.9704; 5: 245.4325; 6: 372.3202 | 2071.2291
Average Ambinet Temp | Deg C | 1: 34; 2: 32; 3: 33; 4: 32.64; 5: 32.32; 6: 35.46 | 33.2367
Remarks

## Remark (hidden)
Location | Remark | Date
Castamet |  | 2020-06-01
2020-06-01
Panipat | Dust impact of 167 KWh & 0.7 % PLF | 2020-06-01
2020-06-01
Roorkee | Inverter-11 Outgoing MCCB trip having generation impact of 91 KWh & 0.4% PLF | 2020-06-01
2020-06-01
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-01
| One string (including 26 module) installation pending & having impatc of 44 KWH (0.09% PLF) | 2020-06-01
2020-06-01
2020-06-01
Location | Remark | Date
Castamet |  | 2020-06-02
2020-06-02
Panipat | Grid outage from 12:00 Hrs to 2:30 Hrs (02 Hrs & 30 Minutes) having generation effect of 1040 KWh & 4.34% PLF | 2020-06-02
| Deemed generation due to export control having impact of 384KWH & 1.6% PLF | 2020-06-02
Roorkee | Dust impact of 95 KWh & 0.4 % PLF | 2020-06-02
2020-06-02
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-02
| Deemed generation due to export restriction is 5523 KWH & 11.5% PLF | 2020-06-02
| One string (including 26 module) installation pending & having impact of 14 KWH | 2020-06-02
2020-06-02
Location | Remark | Date
Castamet |  | 2020-06-03
2020-06-03
Panipat | Dust impact of 120 KWh & 0.5 % PLF | 2020-06-03
2020-06-03
Roorkee |  | 2020-06-03
2020-06-03
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-03
| Deemed generation due to export restriction is 1368 KWH & 2.9% PLF | 2020-06-03
| One string (including 26 module) installation pending & having impact of 28 KWH | 2020-06-03
2020-06-03
Location | Remark | Date
Castamet |  | 2020-06-04
2020-06-04
Panipat | Overall generation low due to partial cloudy weather | 2020-06-04
2020-06-04
Roorkee |  | 2020-06-04
2020-06-04
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-04
| Deemed generation due to export restriction is 2249 KWH & 4.7 % PLF | 2020-06-04
| One string (including 26 module) installation pending & having impact of 29 KWH | 2020-06-04
2020-06-04
Location | Remark | Date
Castamet |  | 2020-06-05
2020-06-05
Panipat |  | 2020-06-05
| Dust imapct of 167 KWh & 0.7 % PLF | 2020-06-05
Roorkee |  | 2020-06-05
2020-06-05
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-05
| Deemed generation due to export restriction is 6682 KWH & 13.9 % PLF | 2020-06-05
| One string (including 26 module) installation pending | 2020-06-05
2020-06-05
Location | Remark | Date
Castamet |  | 2020-06-06
2020-06-06
Panipat |  | 2020-06-06
| Dust imapct of 263 KWh & 1.1 % PLF | 2020-06-06
Roorkee |  | 2020-06-06
2020-06-06
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-06
| Deemed generation due to export restriction is 956 KWH & 2% PLF | 2020-06-06
| One string (including 26 module) installation pending | 2020-06-06
2020-06-06
Location | Remark | Date
Castamet |  | 2020-06-07
2020-06-07
Panipat |  | 2020-06-07
| Overall generation low due to cloudy weather whole day | 2020-06-07
Roorkee | Inverter-05 tripped in HW DSP ADC3 fault having generation impact of 208 KWH & 0.86% PLF | 2020-06-07
| Grid outage from 4:55 PM to 5:15 PM (20 Minutes) having generation impact of 91 KWH & 0.38 % PLF | 2020-06-07
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-07
| Deemed generation due to export restriction is 931 KWH & 1.9 % PLF | 2020-06-07
| One string (including 26 module) installation pending | 2020-06-07
| Overall generation low due to partial cloudy weather | 2020-06-07
Location | Remark | Date
Castamet |  | 2020-06-08
2020-06-08
Panipat | Deemed generation due to export control is 610 KWH & 2.54% PLF | 2020-06-08
2020-06-08
Roorkee | Grid outage from 12:05 Hrs to 15:55 Hrs (03 Hrs & 55 Minutes) having generation impact of 2038 KWH & 8.5 % PLF | 2020-06-08
2020-06-08
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-08
| Deemed generation due to export restriction is 6113 KWH & 12.8 % PLF | 2020-06-08
| One string (including 26 module) installation pending | 2020-06-08
Location | Remark | Date
Castamet |  | 2020-06-09
2020-06-09
Panipat | Grid outage from 09:45 Hrs to 13:00 Hrs having generation impact of 1601 KWH & 6.67% | 2020-06-09
2020-06-09
Roorkee | Inverter-05 tripped in HW DSP ADC3 having generation impact of 279 KWh & 1.16% PLF | 2020-06-09
2020-06-09
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-09
| Deemed generation due to export restriction is 273 KWH & 0.6 % PLF | 2020-06-09
| One string (including 26 module) installation pending having generation impact of 42 KWH & 0.09 % PLf | 2020-06-09
Location | Remark | Date
Castamet |  | 2020-06-10
2020-06-10
Panipat | Dust impact of 96 KWH & 0.4% PLF | 2020-06-10
2020-06-10
Roorkee | Grid outage from 10:25 Hrs to 14:45 Hrs (04 Hrs & 20 Minutes) having generation impact of 2689 & 11.21% PLF | 2020-06-10
2020-06-10
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-10
| Deemed generation due to export restriction is 5660 KWH & 11.8 % PLF | 2020-06-10
| One string (including 26 module) installation pending having generation impact of 17 KWH | 2020-06-10
Location | Remark | Date
Castamet | Grid Outage from 16:30 Hrs To 18:05 Hrs(95 Min) and Generation loss due to grid outage is 183.7 Kwh. | 2020-06-11
2020-06-11
Panipat | Dust impact of 383 KWH & 1.6% PLF | 2020-06-11
2020-06-11
Roorkee | Inverter-05 tripped in HW DSP ADC3 having generation impact of 242 KWh & 1.0% PLF,Fault reset after consulation with OEM | 2020-06-11
2020-06-11
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-11
| Shutdown taken till 1:00 PM for CT & PT Dismantling & LT Breaker work having generation impact of 4498 KWH & 9.4 % PLF | 2020-06-11
| Overall generation low due to partial cloudy weather | 2020-06-11
| One string (including 26 module) installation pending | 2020-06-11
Location | Remark | Date
Castamet |  | 2020-06-12
2020-06-12
Panipat | Dust impact of 383 KWH & 1.6% PLF | 2020-06-12
| Grid outage from 14:50 Hrs to 17:30 Hrs having generation impact of 1079 KWH & 4.50% PLF | 2020-06-12
Roorkee |  | 2020-06-12
2020-06-12
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-12
| Overall generation low due to rainy & Cloudy weather whole day | 2020-06-12
| One string (including 26 module) installation pending | 2020-06-12
2020-06-12
Location | Remark | Date
Castamet |  | 2020-06-13
2020-06-13
Panipat |  | 2020-06-13
| Grid outage from 14:25 Hrs to 14:40 Hrs having generation impact of 21 KWH & 0.09% PLF | 2020-06-13
Overall generation low due to partial cloudy weather
Roorkee |  | 2020-06-13
2020-06-13
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-13
| Deemed generation due to export restriction is 1836 KWH & 3.8 % PLF | 2020-06-13
| One string (including 26 module) installation pending | 2020-06-13
2020-06-13
Location | Remark | Date
Castamet |  | 2020-06-14
2020-06-14
Panipat | Dust impact of 215 KWH & 0.9% PLF | 2020-06-14
2020-06-14
Roorkee |  | 2020-06-14
2020-06-14
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-14
2020-06-14
| One string (including 26 module) installation pending | 2020-06-14
2020-06-14
Location | Remark | Date
Castamet |  | 2020-06-15
2020-06-15
Panipat | Modules are dusty having generation impact of 407 KWH & 1.70 % PLF.Cleaning manpower reached at site today | 2020-06-15
2020-06-15
Roorkee | Grid outage from 16:30 Hrs to 17:05 Hrs (35 Minutes) having generation loss of 62KWH & 0.26% PLF | 2020-06-15
2020-06-15
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-15
| Deemed Generation due to export restriction 406 KWH & 0.8 % PLF | 2020-06-15
| One string (including 26 module) installation pending having generation impact of 30 KWH | 2020-06-15
| Overall generation low due to partial Cloudy weather | 2020-06-15
Location | Remark | Date
Castamet |  | 2020-06-16
2020-06-16
Panipat | Grid outage from 11:00 Hrs to 11:20 Hrs (20 Minutes) & 14:19 to 15:15 (56 Minutes) having generation impact of 516 KWH & 2.15 % PLF | 2020-06-16
| Modules are dusty having generation impact of 275 KWH & 1.15 % PLF | 2020-06-16
Roorkee |  | 2020-06-16
2020-06-16
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-16
| Deemed Generation due to export restriction 4208 KWH & 8.8 % PLF | 2020-06-16
| One string (including 26 module) installation pending having generation impact of 30 KWH | 2020-06-16
| Overall generation low due to partial Cloudy weather | 2020-06-16
Location | Remark | Date
Castamet | Inverter-01 outage having generation impact of 50 KWH & 0.2% PLF | 2020-06-17
2020-06-17
Panipat | Grid outage from 15:56 Hrs to 16:04 Hrs (08 Minutes) having generation impact of 37 KWH & 0.15 % PLF | 2020-06-17
| Modules are dusty having generation impact of 311 KWH & 1.3 % PLF | 2020-06-17
Module cleaning work started from today evening
Roorkee | Grid outage from 03:45 Hrs to 11:45 Hrs (07 Hours) having generation loss of 1215 KWH & 5.07 % PLF | 2020-06-17
2020-06-17
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-17
| Overall generation low due to Cloudy weather whole day | 2020-06-17
| One string (including 26 module) installation pending | 2020-06-17
2020-06-17
Location | Remark | Date
Castamet |  | 2020-06-18
2020-06-18
Panipat | Grid outage from 12:03 Hrs to 12:55 Hrs (52 Minutes) having generation impact of 114 KWH & 0.5 % PLF | 2020-06-18 | 167
| Deemed generation due to export control having generation impact of 402 KWH & 1.68 % PLF | 2020-06-18 | 120
| Module cleaning work started & 80 % Cleaning completed | 2020-06-18 | 167
Roorkee | Inverter-05 Outage in HW DSP ADC3 having generation impact of 262 KWH & 1.09% PLF | 2020-06-18 | 263
|  | 2020-06-18 | 96
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-18 | 383
| Overall generation low due to Cloudy weather whole day | 2020-06-18 | 383
| One string (including 26 module) installation pending | 2020-06-18 | 215
| 3)Deemed Generation due to export restriction 3342 KWH & 7.0% PLF | 2020-06-18 | 407
Location | Remark | Date | 275
Castamet |  | 2020-06-19 | 311
|  | 2020-06-19 | 2898
Panipat | Module cleaning work 100% Completed | 2020-06-19 | 0.4315%
2020-06-19
2020-06-19
Roorkee |  | 2020-06-19
2020-06-19
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-19
| Deemed Generation due to export restriction 59 KWH & 0.1% % PLF | 2020-06-19
| One string (including 26 module) installation pending having generation impact of 32 KWH | 2020-06-19
2020-06-19
Location | Remark | Date
Castamet |  | 2020-06-20
2020-06-20
Panipat |  | 2020-06-20
2020-06-20
2020-06-20
Roorkee | Grid outage from 08:05 Hrs to 08:25 Hrs having generation impact of 95KWH & 0.4% PLF | 2020-06-20
| Inverter-05 Outage in HW DSP ADC3 having generation impact of 205 KWH & 0.85% PLF | 2020-06-20
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-20
| Deemed Generation due to export restriction 796 KWH & 1.7% % PLF | 2020-06-20
| One string (including 26 module) installation pending having generation impact of 17 KWH | 2020-06-20
2020-06-20
Location | Remark | Date
Castamet |  | 2020-06-21
2020-06-21
Panipat |  | 2020-06-21
2020-06-21
2020-06-21
Roorkee |  | 2020-06-21
2020-06-21
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-21
| Deemed Generation due to export restriction 1155 KWH & 2.4% % PLF | 2020-06-21
| One string (including 26 module) installation pending having generation impact of 11 KWH | 2020-06-21
2020-06-21
Location | Remark | Date
Castamet |  | 2020-06-22
2020-06-22
Panipat | WMS system not working,Pyronometer will be shifted from RGU & will be install by tommorow at site | 2020-06-22
2020-06-22
2020-06-22
Roorkee | Grid supply switched off to check cement plant HT panel power terminals from from 09:50 to 11:35 Hrs having generation impact of 1029 KWh & 4.29% PLF | 2020-06-22
| Inverter-05 Outage in HW DSP ADC3 having generation impact of 158 KWH & 0.66% PLF | 2020-06-22
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-22
| Deemed Generation due to export restriction 1005 KWH & 2.1% % PLF | 2020-06-22
| One string (including 26 module) installation pending having generation impact of 11 KWH | 2020-06-22
2020-06-22
Location | Remark | Date
Castamet |  | 2020-06-23
2020-06-23
Panipat | WMS system not working,Pyronometer shifted from RGU & will be install by 24.06 | 2020-06-23
| Deemed generation due to export control is 1268 KWH & 5.29% PLF | 2020-06-23
2020-06-23
Roorkee | Inverter-05 Outage in HW DSP ADC3 having generation impact of 158 KWH & 0.66% PLF | 2020-06-23
2020-06-23
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-23
| Deemed Generation due to export restriction 2235 KWH & 4.5% % PLF | 2020-06-23
| One string (including 26 module) installation pending having generation impact of 11 KWH | 2020-06-23
| Overall Generation low due to partial cloudy weather | 2020-06-23
Location | Remark | Date
Castamet | Overall generation low due to cloudy weather whole day | 2020-06-24
2020-06-24
Panipat | WMS System not working & Shifed from RGU Installed on 24.06 & Reading will be available from today | 2020-06-24
2020-06-24
2020-06-24
Roorkee | Grid outage from 08:45 AM to 8:50 AM (05 Minutes) having generation impact of 23 KWH & 0.1% PLF | 2020-06-24
| Inverter-05 Outage in HW DSP ADC3 having generation impact of 185 KWH & 0.77% PLF | 2020-06-24
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-24
| Deemed Generation due to export restriction 2235 KWH & 4.5% % PLF | 2020-06-24
| One string (including 26 module) installation pending having generation impact of 11 KWH | 2020-06-24
| Overall Generation low due to partial cloudy weather | 2020-06-24
Location | Remark | Date
Castamet |  | 2020-06-25
2020-06-25
Panipat |  | 2020-06-25
2020-06-25
2020-06-25
Roorkee | Grid outage from 03:40 AM to 11:20 AM (09:20 Minutes) having generation impact of 1456 KWH & 6.07% PLF | 2020-06-25
2020-06-25
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-25
| Deemed Generation due to export restriction 3707 KWH & 7.7% % PLF | 2020-06-25
| 09 Nos module erection done & including 17 module installation pending having generation impact of 15 KWH | 2020-06-25
| Hearing on net metering will be held on 08 july 2020 with JERC | 2020-06-25
Location | Remark | Date
Castamet | Overrall Generation is less due to Grid Outage From 9:15 Hrs to 14:00 Hrs and Generation loss due to grid outage is 2840 Kwh. | 2020-06-26
2020-06-26
Panipat |  | 2020-06-26
2020-06-26
2020-06-26
Roorkee | Inverter-05 Outage in HW DSP ADC3 having generation impact of 264 KWH & 1.1% PLF | 2020-06-26
2020-06-26
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-26
| Deemed Generation due to export restriction 3668 KWH & 7.6 % % PLF | 2020-06-26
| 10 Nos module erection done & including 17 module installation pending having generation impact of 4 KWH | 2020-06-26
| Hearing on net metering will be held on 08 july 2020 with JERC | 2020-06-26
Location | Remark | Date
Castamet |  | 2020-06-27
2020-06-27
Panipat | Grid outage from 09:55 Hrs to 10:00 Hrs(minutes) & 18:25 Hrs to 18:30 Hrs (05 Minutes) having generation impact of 43KWH & 0.18 % PLF | 2020-06-27
2020-06-27
2020-06-27
Roorkee | Grid outage from 13:35 Hrs to 15:35 Hrs (02 Hrs) having generation impact of 1076KWH & 4.49% PLF | 2020-06-27
2020-06-27
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-27
| Deemed Generation due to export restriction 136 KWH & 0.3 % PLF | 2020-06-27
| 11 Nos module erection done &17 module installation pending | 2020-06-27
| Hearing on net metering will be held on 08 july 2020 with JERC | 2020-06-27
Location | Remark | Date
Castamet |  | 2020-06-28
2020-06-28
Panipat | Inverter-16,17 & 18 modules are dusty & having dust impact of 111 KWH & 0.46% PLF | 2020-06-28
2020-06-28
2020-06-28
Roorkee | Inverter-05 Outage in HW DSP ADC3 having generation impact of 220 KWH & 0.92% PLF | 2020-06-28
2020-06-28
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-28
| Deemed Generation due to export restriction 51 KWH & 0.1 % PLF | 2020-06-28
| Overall generation low due to cloudy weather whole day | 2020-06-28
| Hearing on net metering will be held on 08 july 2020 with JERC | 2020-06-28
Location | Remark | Date
Castamet | Inverter No 2 in stand by mode from 14:00 Hrs to 18:00 Hrs(4 Hrs) having generation impact of 128 KWH & 0.53% PLF | 2020-06-29
2020-06-29
Panipat | Inverter tripped in internal fault & having generation impact of 176KWH & 0.73% PLF | 2020-06-29
| Modules of Inverter-16,17 & 18 are dusty having generation impact of approx 46 KWH & 0.19% PLF | 2020-06-29
| Overall generation low due to cloudy weather whole day. | 2020-06-29
Roorkee | Grid outage from 15:55 to 16:25 Hrs (30 Minutes) having imapct of 35 KWH & 0.15% PLF | 2020-06-29
| Overall generation low due to partial cloudy weather | 2020-06-29
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-29
| Deemed Generation due to export restriction 74 KWH & 0.31 % PLF | 2020-06-29
| Overall generation low due to cloudy weather whole day | 2020-06-29
| Hearing on net metering will be held on 08 july 2020 with JERC | 2020-06-29
Location | Remark | Date
Castamet |  | 2020-06-30
2020-06-30
Panipat | Inverter -13 tripped in internal fault & having generation impact of 206 KWH & 0.86 % PLF | 2020-06-30
| Deemd generation due to export control 173 KWH & 0.72% PLF | 2020-06-30
| Overall generation low due to partial cloudy weather. | 2020-06-30
Roorkee |  | 2020-06-30
2020-06-30
Jharkhand | Presently Solar Plant is running as per Load to ensure no export to grid (Net Meter Permission is still awaited) | 2020-06-30
| Deemed Generation due to export restriction 295 KWH & 0.6 % PLF | 2020-06-30
2020-06-30
| Hearing on net metering will be held on 08 july 2020 with JERC | 2020-06-30
Castamet |  | 2020-07-24
2020-07-24
Panipat |  | 2020-07-24
2020-07-24
2020-07-24
Roorkee |  | 2020-07-24
2020-07-24
Jharkhand |  | 2020-07-24
2020-07-24
2020-07-24
2020-07-24
As per instruction of Kapil sir, Pls keep this sheet hidden Password-electrical123
Formulas:
Date = [Date, row above]

## Sheet1 (hidden)
| Irradition | Targeted Power | Actual Power
Date | KWH/m2/Day | KWH | KWH
2020-06-01 | 7.5 | 5619.1609 | 5324.715
2020-06-02 | 7.24 | 5504.6653 | 5241.402
2020-06-03 | 7.3073 | 5690.9281 | 5498.883
2020-06-04 | 5.0599 | 3884.5471 | 4014
2020-06-05 | 5.1509 | 4068.6578 | 3996
2020-06-06 | 7.137 | 5531.8734 | 5454
2020-06-07 | 5.7219 | 4477.3755 | 4131
2020-06-08 | 6.9253 | 5291.0242 | 3069
2020-06-09 | 6.6434 | 5223.0202 | 4887
2020-06-10 | 6.5359 | 5114.301 | 2331
2020-06-11 | 6.2633 | 4900.9796 | 4563
2020-06-12 | 5.8927 | 4632.812 | 4572
2020-06-13 | 5.8 | 4559.9188 | 4464
2020-06-14 | 6.2 | 4828.5514 | 4770
2020-06-15 | 6.2 | 4828.5514 | 4698
2020-06-16 | 6.2 | 4759.7845 | 4761
2020-06-17 | 5.4236 | 4183.8014 | 2736
2020-06-18 | 6.323 | 4900.9924 | 4581
2020-06-19 | 6.37 | 4984.4589 | 4959
2020-06-20 | 5.6 | 4319.8642 | 3933
2020-06-21 | 5.6 | 4299.1602 | 4203
2020-06-22 | 6.4366 | 4846.2108 | 3519
2020-06-23 | 6.1787 | 4789.1582 | 4716
2020-06-24 | 4.5072 | 3526.8518 | 3276
2020-06-25 | 5.1053 | 3957.0997 | 2340
2020-06-26 | 6.3 | 4929.7233 | 4617
2020-06-27 | 6.1 | 4750.6716 | 3582
2020-06-28 | 5.4191 | 4200.3395 | 3870

## Target (hidden)
Generation Target
Sr No | Location | Target - Feb | Target - March
1 | Beawar | 374.3787 | 381.4281
2 | Castamet | 4513.4663 | 4914.585
3 | Panipat | 5101.1829 | 5277.9845
4 | Roorkee | 5138.8222 | 5380.5344
5 | Jharkhand | 9977.2281 | 9819.0331
Irradiation Target
Sr No | Location | Target - Feb | Target - March
1 | Beawar | 7.0929 | 7.0226
2 | Castamet | 5.6786 | 6.3774
3 | Panipat | 6.4 | 6.8774
4 | Roorkee | 6.3607 | 6.7677
5 | Jharkhand | 6.3893 | 6.4355
Irradiation Actual
Sr No | Location | Actual - Feb | Actual - March
1 | Beawar | 5.8583
2 | Castamet | 5.639
3 | Panipat | 4.9736
4 | Roorkee | 5.0056
5 | Jharkhand | 5.0283
% Irradiation Difference
Sr No | Location | Feb | March
1 | Beawar
2 | Castamet | -0.6972%
3 | Panipat | -22.29%
4 | Roorkee | -21.3%
5 | Jharkhand | -21.3%